CERTIFICATE OF ANALYSIS

| Product Number: | HMS-0100 |
| --- | --- |
| Description: | Positive Control Sera: Human antibody against Mitochondrial Antigen |
| Lot Number: | 6205 |
| Appearance: | Lyophilized |

Assays:

ELISA:

| Test | Results |
| --- | --- |
| SSA | 20.58 EU/ml |
| SSB | 3.57 EU/ml |
| SCL | 15.81 EU/ml |
| Sm | 3.36 EU/ml |
| Sm/RNP | 11.55 EU/ml |
| Jo-1 | 19.07 EU/ml |

Interpretation of Results:

<20 EU/ml: Negative

20-30 EU/ml: Equivocal

>30 EU/ml: Positive

N/A: Not Available

IFA:

| Test | Results |
| --- | --- |
| MITO | 9720 |

Interpretation of Results:

<40: Normal

Infectious Disease Testing:

This product has tested non-reactive for HBsAg, HIVAg, (-HIV, (-HBC, and(-HCV.

_____________________                           ___11/26/2018______

Quality Director	Date