CERTIFICATE OF ANALYSIS

| Product Number: | HSC-0100 |
| --- | --- |
| Description: | Positive Control Sera: Human antibody against Topoisomerase-I |
| Lot Number: | 6006 |
| Appearance: | Lyophilized |

Assays:

ELISA:

| Test | Results |
| --- | --- |
| SSA | 8.34 EU/ml |
| SSB | 4.59 EU/ml |
| SCL | 90.66 EU/ml |
| Sm | 3.04 EU/ml |
| Sm/RNP | 4.02 EU/ml |
| Jo-1 | 4.47 EU/ml |

Interpretation of Results:

<16 EU/ml: Negative

16-20 EU/ml: Equivocal

>20 EU/ml: Positive

N/A: Not Available

Immunodiffusion:

| Test | Results |
| --- | --- |
| Titer | 1:4 |
| Identity to CDC standard | Complete ID |

Infectious Disease Testing:

This product has tested non-reactive for HBsAg, HIVAg, (-HIV, (-HBC, and(-HCV.

_____________________                           ___11/16/2016______

Quality Director                                            Date